## Slide 1
Infrastructure Optimization and Total Energy Management:
Utilizing Performance Contracting – Town of Camden

## Slide 2: Background: Town of Camden
Utilizing Energy Performance Contracting:
  Turnkey design/build project approach
  Guaranteed energy savings
  No Change Orders
  Comprehensive energy efficiency measures
Comprehensive Program for the Town of Camden:
  Identify potential improvements to existing facilities
  Guaranteed savings to help fund the project
  Leverage utility provided rebates
  Financing term consistent with long-term contract with ESCO (Siemens)

## Slide 3: Total Energy Management is Where Best Practices Intersect
Reduce:
Drive down energy consumption in order to reduce costs and the environmental impact of your organization.
Data-Driven Optimization:
Continuously analyze and optimize your building(s) and the improvement actions you’ve taken to be more precise and effective with your investment decisions.
Procure:
Manage the energy purchasing process as a way to lower total energy spend, mitigate risks, and meet sustainability targets.
Produce:
Generate and store energy on-site so that you are less reliant on the grid and have a more sustainable energy-mix.
1010101010110101
0101010101010100101
101010110101010101010101
0100101010101010101010 01010101010101010101010101
0101010110101010101010101
01001010101010101010101
10101010101010101010101
01010101010101010101
01010101010101010
1010101010
  ……to achieve long-term business goals through continuous improvement and innovative financial solutions.

## Slide 4: Opera House / Town Office: Potential FIMs
Lighting:
Retrofit or replace all interior lighting to LED
Building Envelope:
Solve the water issues in the basement with a sealed crawl space liner or EPDM membrane on the floor and walls
Additional Improvements:
Roof replacement to eliminate the current leaking issues
Installing a new roof hatch
O2 Prime installation
New Wi-Fi programmable Thermostats
Phase 2 options:
Insulate attic once the water in the basement is under control and not providing moisture to rise

## Slide 5: Example – Crawl space liner

## Slide 6: Public Safety Buildings: Potential FIMs
Lighting:
Retrofit or replace all interior lighting to LED
Additional Improvement:
Installing heat pump in fitness room
Replacing 7 heating/cooling heat pump units and AHU’s
Installing mini split system for the antique pumper showcase
Phase 2 options:
Roof replacement for both buildings
Rooftop Solar option once roof is replaced

## Slide 7: Public Works and WWTP: Potential FIMs
Lighting: WWTP and Public Works
Retrofit or replace all interior lighting to LED
Building Envelope: Public Works
Weather stripping on external building doors and garage doors
Additional Improvements: Public Works
Heat Pump for office space
Phase 2 options:
Potential rooftop solar at WWTP

## Slide 8: Snow Bowl: Potential FIM’s
Lighting:
Retrofit or replace all interior lighting to LED
Replace existing trial lighting fixtures
Install new parking lot lighting/LED
Building Envelope:
Weather stripping on external building doors
Replace single pane windows with double pane windows
Improve the front entrance and appearance
Additional Improvements:
Geothermal Heating and cooling System to make the move
clean energy and reduce the Town’s carbon footprint

## Slide 9: Snow Bowl: Potential Phase 2 options
Improve the snow making process to reduce energy usage,
improve reliability, flexibility and sustainability.
Roof Replacement and Insulation

## Slide 10: Camden Library: Potential FIMs
Lighting and controls:
Retrofit or replace all interior lighting to LED
Install programmable controls and wireless dimmers
Building Envelope:
Weather stripping on external building doors
Insulate attic and walls that need to improved
Additional Improvements:
Install new propane boiler to replace current oil burner
Install new building automation system and implementing
energy saving control strategies
Install O2 prime

## Slide 11: Potential Projects for the Town of Camden:
OPTION 2 PROJECT
Annual Contribution
Town = $60,000
Library = $26,000
Energy & Operational Savings
$47,000 (22%)
Option 2 Total Project Cost
$2,040,000
Lighting Retrofit @ All Buildings
Lighting Controls @ Library
New Parking Lot Lights @ Snow Bowl
New Heat Pumps @ Public Safety & Public Works
Basement Membrane @ Opera House
Building Weatherization @ All Buildings
New Windows @ Snow Bowl
Attic Insulation @ Library
New Building Automation System @ Library
Boiler Replacement and Fuel Conversion @ Library
O2 Prime @ Library & Town Office
Geothermal Heating and Cooling System @ Snow Bowl
X Roof Replacement @ Opera House
OPTION 3 PROJECT
Annual Contribution
Town = $46,000
Library = $26,000
Energy & Operational Savings
$45,000 (20%)
Option 3 Total Project Cost
$1,810,000
Lighting Retrofit @ All Buildings
Lighting Controls @ Library
New Parking Lot Lights @ Snow Bowl
New Heat Pumps @ Public Safety & Public Works
Basement Membrane @ Opera House
Building Weatherization @ All Buildings
New Windows @ Snow Bowl
Attic Insulation @ Library
New Building Automation System @ Library
Boiler Replacement and Fuel Conversion @ Library
O2 Prime @ Library & Town Office
X Geothermal Heating and Cooling
System @ Snow Bowl
Boiler Replacement @ Snow Bowl
Roof Replacement @ Opera House
OPTION 1 PROJECT
Annual Contribution
Town = $79,000
Library = $26,000
Energy & Operational Savings
$47,000 (22%)
Option 1 Total Project Cost
$2,308,000
Lighting Retrofit @ All Buildings
Lighting Controls @ Library
New Parking Lot Lights @ Snow Bowl
New Heat Pumps @ Public Safety & Public Works
Basement Membrane @ Opera House
Building Weatherization @ All Buildings
New Windows @ Snow Bowl
Attic Insulation @ Library
New Building Automation System @ Library
Boiler Replacement and Fuel Conversion @ Library
O2 Prime @ Library & Town Office
Geothermal Heating and Cooling System @ Snow Bowl
Roof Replacement @ Opera House

## Slide 12: Carbon Reduction and Cost Savings Summary by Location
Chart: Energy and Operational Cost Savings by Location ($)
| Camden Public Library | Camden Snow Bowl Lodge | Opera House | Public Safety | Public Works | Waste Water Treatment Plant
 | 0.28812 | 0.26741 | 0.23665 | 0.10055 | 0.060947 | 0.046314
Chart: CO2 Reduction by Location (Tons CO2)
| Camden Public Library | Camden Snow Bowl Lodge | Opera House | Public Safety | Public Works | Waste Water Treatment Plant
 | 0.48096 | 0.22414 | 0.21525 | 0.081856 | 0.068126 | 0.033509

## Slide 13: Next Steps
Detailed
Analysis
Preliminary Analysis
Implementation
Guarantee Phase
RFP
Letter of Intent
(LOI)
Conceptional
Presentation
Feasibility Study Presentation
Preliminary
Audit
RFP
Response
Investment Grade Audit (IGA)
Planning, Installation, Project Management
Contract
Change of Usage, Consumption, Accounting.
Investment Grade Audit (IGA)
WE ARE HERE

## Slide 14
Denny Webber
Market Manager ME & NH
Energy Performance Services
Smart Infrastructure
207-205-9149 mobile
Denny.Webber@siemens.com
Elmer Arbogast
Energy Engineer ME & NH
Energy Performance Services
Smart Infrastructure
207-205-5954 mobile
Elmer.Arbogast@siemens.com
Colleen Fissette
Energy Engineer ME & NH
Energy Performance Services
Smart Infrastructure
781-738-7147 mobile
Colleen.Fissette@siemens.com